PIRIMIPHOS-METHYL

Determination of ‘Free’ AI 
in formulation CS300

Collaborative Study

Small Scale Collaborative Study 
for the 
Determination of 
Free AI in formulation CS300, by 
Capillary Gas Chromatography

Report to CIPAC

by

Syngenta Crop Protection AG

Dr. A. McIntyre / Susanne De Benedictis

Im Breitenloh 5

CH-4333 Münchwilen

Switzerland

June 2011

Content 	page

1.	Participants	3

2.	Active Ingredient: General Information	4

3.	Samples	5

4.	Method	5

4.1	Scope	5

4.2	Principle	5

4.3	Procedure	5

5.	Remarks of the Participants	5

6.	Evaluation and Discussion	6

6.1	Data Review	6

6.2	Statistical Evaluation	6

7.	Conclusions	10

# Participants

| Cichy, Michael Dr. | Bayer CropScience AG Industriepark Höchst 65926 Frankfurt a.Main Germany |
| --- | --- |
| Dardemann, Jörg. Dr. | Stähler International GmbH&Co.KG Stader Elbstrasse 21683 Stade Germany |
| Distler, Jürgen Dr. | BASF SE Postfach 120 67117 Limburgerhof Germany |
| Hirsbrunner, Urs | Syngenta Crop Protection Münchwilen AG Im Breitenloh 5 4333 Münchwilen Switzerland |

Participants are listed in alphabetical sequence, lab numbers in the result tables were assigned in sequence of result receipt.

# Active Ingredient: General Information

Chemical name:	O-2-diethylamino-6-methylpyrimidin-4-yl O, O-dimethyl phosphorothioate

ISO common name:	Pirimiphos-methyl

CAS-Nr.:  		29232-93-7

Structure:

Molecular mass: 	305.3

Empirical formula:	C11H20N3O3PS

Activity:  		Insecticide

# Samples

Three test samples and 2 analytical standards were sent to the participants:

1.	Pirimiphos-methyl CS300, sample 1

- Pirimiphos-methyl CS300, sample 2

- Pirimiphos-methyl CS300, sample 3

- Pirimiphos-methyl analytical standard, 99.2 % purity

- Dicyclohexyl phthalate internal standard

Results were received by the beginning of April 2011 from all participants.

# Method

## Scope

Determination of the ‘free’ active ingredient content of pirimiphos-methyl in formulation CS300.

## Principle

A known quantity of the capsule suspension is transferred to a glass bottle, diluted further with a small amount of water, before being subjected to a rolling movement with a specified amount of n-hexane (containing an internal standard) for a defined time period. After rolling for the specified time period, the amount of free pirimiphos-methyl in the n-hexane layer is determined by capillary gas chromatography

## Procedure

Each sample was analyzed using four independent determinations. The samples were analyzed on two different days with duplicate injections of two weighings per sample. Test and reference solutions were prepared fresh on each day. In order to calculate the response factor the mean of the response factor (double injection) before and after the samples were used (bracketing). The sample content was calculated using the mean value of the duplicate injections.

# Remarks of the Participants

Several participants provided comments about the method performance and also made a note of any deviations from the method:

Laboratory 1		The horizontal roller could handle only 22 rpm. The GC column had a 30m length. The carrier gas was nitrogen. The flow rate of the carrier gas was 6 ml/min due to the different carrier gas and longer column. Temperature during extraction was 22.7°C

Laboratory 2	no comments

Laboratory 3	The only available roller had a bottle speed of 32 rpm

Laboratory 4	no comments

# Evaluation and Discussion

## Data Review

The data obtained from each laboratory was reviewed to determine if there were any significant chromatography differences, from what was expected, which might affect the analytical results.

Visual examination of the chromatograms indicated no significant chromatographic differences from what was expected

All chromatographic method deviations, noted by the participants, were deemed not to affect the analytical results significantly.

## Statistical Evaluation

Results reported by the laboratories and the statistical evaluation of these are listed in tables 1-3 and displayed in figures 1-4.

The statistical evaluation of the data was accomplished following the “Guidelines for CIPAC Collaborative Study Procedures for Assessment of Performance of Analytical Methods”, according to DIN ISO 5725. The data was examined for outliers and stragglers using Cochran’s test (within-lab variance), followed by Grubb’s test on the lab means (between lab variance). The tests were performed at an alpha level of 0.01 for outlier, and 0.05 for straggler detection.

Based on this procedure, the Cochran variance homogeneity test identified one straggler for the CS300, sample 3 (Lab 2). The Grubb’s test identified one outlier for the CS300, sample 2 (Lab 2). Nevertheless the results of the outlier / straggler tests have been incorporated within the calculations in table 3.

A high variation in results is expected as the methodology is not a well defined concept with limitations due to the nature of the encapsulation process. Although some results have indicated a statistical significance these were deemed as having little practical importance.

#### Determination of free Pirimiphos-methyl – no elimination of any outliers / stragglers

All results tabulated in table 1 and 2 are given in g/kg

Table 1 Results

|  | Pirimiphos-methyl CS300 - sample 1 |  | Pirimiphos-methyl CS300 - sample 2 |  | Pirimiphos-methyl CS300 - sample 3 |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Day1 | Day2 | Day1 | Day2 | Day1 | Day2 |
| Laboratory 1 | 1.3 | 1.3 | 1.0 | 1.0 | 8.8 | 8.4 |
| Laboratory 2 | 0.8 | 1.0 | 0.7 | 0.8 | 7.9* | 14.3* |
| Laboratory 3 | 1.1 | 1.2 | 0.9 | 1.0 | 13.8 | 11.6 |
| Laboratory 4 | 0.9 | 1.0 | 0.9 | 1.2 | 7.7 | 6.2 |

* Cochran straggler

Table 2 Mean values

|  | Pirimiphos-methyl CS300 - sample 1 | Pirimiphos-methyl CS300 - sample 2 | Pirimiphos-methyl CS300 - sample 3 |
| --- | --- | --- | --- |
| Laboratory 1 | 1.3 | 1.0 | 8.6 |
| Laboratory 2 | 0.9 | 0.8** | 11.1 |
| Laboratory 3 | 1.1 | 1.0 | 12.7 |
| Laboratory 4 | 1.0 | 1.1 | 7.0 |
| Overall mean | 1.1 | 0.9 | 9.8 |

** Grubbs outlier

Table 3 Summary of the statistical evaluation

No elimination of any outliers / stragglers

|  | Pirimiphos-methyl CS300 - sample 1 | Pirimiphos-methyl CS300 - sample 2 | Pirimiphos-methyl CS300 - sample 3 |
| --- | --- | --- | --- |
| xm [g/kg] | 1.1 | 0.9 | 9.8 |
| L | 4 | 4 | 4 |
| sr | 0.10 | 0.12 | 2.45 |
| sL | 0.16 | 0.10 | 1.88 |
| sR | 0.19 | 0.15 | 3.09 |
| r | 0.29 | 0.33 | 6.87 |
| R | 0.53 | 0.43 | 8.66 |
| RSDr | 9.50 | 12.45 | 24.95 |
| RSDR | 17.77 | 16.39 | 31.44 |

xm		=	overall sample mean

L		=	number of laboratories

sr 		=	repeatability standard deviation

RSDr		=	relative repeatability standard deviation

r		=	repeatability limit

sR		=	reproducibility standard deviation

RSDR		=	relative reproducibility standard deviation

R		=	reproducibility limit

sL		=	“pure” between laboratory standard deviation

Fig. 1

Pirimiphos-methyl CS300 - sample 1

R limits

r limits

Mean

Fig. 2

Pirimiphos-methyl CS300 - sample 2

R limits

r limits

Mean

0

0.5

1

1.5

2

2.5

3

0

1

2

3

4

5

Assay [g/kg]

Lab

CS 300

-

sample 2

Fig. 3

Pirimiphos-methyl CS300 - sample 3

R limits

r limits

Mean

# Conclusions

A total of four different laboratories have participated in this small scale collaborative study.

Each lab was sent two samples which were deemed biologically acceptable, samples 1 and 2, and one unacceptable sample, sample 3. The basis of acceptability was the biological activity, Laboratory Studies (Phase 1) as measured in the WHO guideline - WHO/CDS/NTD/WHOPES/GCDPP/2006.3 – for materials used as Mosquito Adulticides for Indoor Residual Spraying and Treatment of Mosquito Nets.

The variation in the roller speeds between the laboratories appears to have no significant effect upon the measurement. Speeds from 22 rpm – 50 rpm have been used

Upon review of the chromatographic data all results appear to be valid, even if the application of statistical outlier tests, such as Cochran and Grubb’s, report stragglers/outliers. These stragglers/ outliers, although statistically significant, have not been seen as having any practical importance and hence have not been excluded from the calculations. The variability afforded by this type of test had to be taken into account when assessing the results.

The relative reproducibility standard deviation is higher than expected for all three samples but uncertainty in the measurement will be introduced due to the fact that ‘Free’ AI is not a well defined concept. Homogeneity and extraction problems will exist as we may have AI on the surface of capsules, AI in micelles or AI in an emulsion. AI may also be extracted from inside the capsules, distorting the results, as the amount of AI outside the capsule will also be in dynamic equilibrium with the AI inside. Sample homogeneity problems are exacerbated, during the sample preparation phase for ‘Free’ AI, as the sample cannot be homogenized using high shear mixing or sonication in case the capsule integrity is destroyed.

The measurement of ‘Free’ AI therefore has many variables that can increase the measurement variability and we believe that an RSD of @20%, on an analyte level of 1g/kg, for the samples which are biologically acceptable, is expected for this measurement. The method is atypical and cannot be compared directly, using the Horwitz criterion, with methods whose aim is to measure the ‘total’ analyte content within a sample.

The even higher RSD of @30%, combined with the ‘free’ analyte content of 10 g/kg, for the sample representing unacceptable biological activity also provides an indication of the capsule quality and highlights further the points previously made about measurement variability. The dynamic equilibrium varies between that for strong capsules (biologically acceptable/controlled release) and that for weak capsules (biologically unacceptable/instantaneous release), leading to an increased variation for weak capsules as extraction from inside can occur.

It is evident that the method employed can be used to monitor the amount of Free AI successfully as long as the aforementioned limitations are taken into account. It is also plausible that the results are always likely to be higher than the ‘true’ value for non-encapsulated material due to some extraction from inside the capsules.

The method also provides information to highlight the difference between acceptable and unacceptable biological performance which is illustrated in Figure 4 with the two acceptable samples conforming to the specification and the unacceptable sample failing.

We therefore consider this method to be suitable as a specification test, without further changes, and recommend accepting it as a provisional CIPAC method for the determination of ‘free’ pirimiphos-methyl within the CS 300 formulation

Fig. 4

Pirimiphos-methyl CS300 – specification limit

.