## General
Determination of piperonyl butoxide(PBO) content in Yorkool G4 LN
Laboratory Name: |  | Tianjin Yorkool International Trading Co., Ltd. Research and development department
Address: |  | F-721, Hi-Tech Information Plaza, #8, Huatian Avenue Huayuan Industrial Park, Tianjin 300384, China
Contact Name: |  | Molingzhi
Phone |  | +8615822226968
E-mail |  | pet@treated-bednet.com
Comments |  | CIPAC method (handbook N, p111-p114): 1.GC column: Fused silica, 30m*0.32mm (i.d.) with 100% methyl polysiloxane. 2.Carrier gas: Helium 3.Oven temperatures program: 180℃ hold for 11min 220℃ at 10 ℃/min, hold for 8min 210℃ at 10 ℃/min, hold for 18min 245℃ at 30 ℃/min, hold for 4min 4.linear velocity: 39cm/min at 180℃ 5.Retention time:Octadecane about 6 min and PBO about 23 min | Difference for operating conditions compared to the CIPAC: 1.GC column: Fused silica, 30m*0.25mm(i.d.) with (5%-phenyl)-95% methy lpolysiloxane 2.Carrier gas: Nitrogen 3.Oven temperatures program: 180℃ hold for 11min 210℃ at 10 ℃/min, hold for 8min 220℃ at 10 ℃/min, hold for 18min 245℃ at 30 ℃/min, hold for 4min 4.linear velocity: 39cm/s at 180℃ 5.Retention time:Octadecane about 7.6 min and PBO about 26.2 min

## Day1
Day 1 Results
Samples
Weight(g)
| PBO neeting subsample1 (S1) | 0.501
| PBO neeting subsample2 (S2) | 0.4996
| purity of the standard PBO(g/kg) | 989
| weight of standard PBO(mg) | 0.2519
| Sample | peak area of octadecane | peak area of PBO | PBO to internal standard peak area ratios in the caliration solutions | average PBO to internal standard peak area ratios in the caliration solutions | mass of PBO in the caliration solutions(g)
| calibration solution CA | 12793441 | 557262 | 0.043558 | 0.044664 | 0.002519
| calibration solution CA | 13121275 | 600567 | 0.04577
| calibration solution CB | 13033859 | 1875479 | 0.14389 | 0.14429 | 0.007557
| calibration solution CB | 13058956 | 1889512 | 0.14469
| calibration solution CC | 13168170 | 2528173 | 0.19199 | 0.19031 | 0.010076
| calibration solution CC | 13193355 | 2488526 | 0.18862
| calibration solution CD | 13102369 | 3762900 | 0.28719 | 0.28285 | 0.015114
| calibration solution CD | 13093253 | 3646684 | 0.27852
| calibration solution CE | 13199479 | 5139457 | 0.38937 | 0.3836 | 0.020152
| calibration solution CE | 13192080 | 4984364 | 0.37783
| sample solution S1 | 12855784 | 4539190 | 0.35309 | 0.34804 | /
| sample solution S1 | 12845973 | 4406047 | 0.34299
| sample solution S2 | 13053800 | 4218265 | 0.32314 | 0.32569 | /
| sample solution S2 | 13130956 | 4309923 | 0.32823
Curve by plotting the average PBO to internal standard peak area ratios versus the mass of PBO in the caliration solutions.
| average PBO to octadecane peak area ratio in the sample1 |  | 0.34804
| average PBO to octadecane peak area ratio in the sample2 |  | 0.32569
| slope of calebration curve |  | 19.0814
| intercept of calibration curve |  | -0.0023
| purty of the PBO standard(g/kg) |  | 989
| content of PBO(g/kg) in sample1 |  | 36.244
| content of PBO(g/kg) in sample2 |  | 34.0266

## Day2
Day 2 Results
Samples
Weight(g)
| PBO neeting subsample1 (S1) | 0.5003
| PBO neeting subsample2 (S2) | 0.5019
| purity of the standard PBO(g/kg) | 989
| weight of standard PBO(mg) | 0.2515
| Sample | peak area of octadecane | peak area of PBO | PBO to internal standard peak area ratios in the caliration solutions | average PBO to internal standard peak area ratios in the caliration solutions | mass of PBO in the caliration solutions(g)
| calibration solution CA | 12907516 | 577714 | 0.044758 | 0.045986 | 0.002515
| calibration solution CA | 13118731 | 619389 | 0.047214
| calibration solution CB | 13069653 | 1953555 | 0.14947 | 0.14749 | 0.007545
| calibration solution CB | 12995859 | 1891113 | 0.14552
| calibration solution CC | 12609158 | 2240248 | 0.17767 | 0.18648 | 0.01006
| calibration solution CC | 12861219 | 2511804 | 0.1953
| calibration solution CD | 13178196 | 3764003 | 0.28562 | 0.28541 | 0.01509
| calibration solution CD | 13149908 | 3750365 | 0.2852
| calibration solution CE | 13050444 | 4957257 | 0.37985 | 0.38085 | 0.02012
| calibration solution CE | 12991692 | 4960827 | 0.38185
| sample solution S1 | 12687782 | 4133831 | 0.32581 | 0.32664 | /
| sample solution S1 | 12723329 | 4166491 | 0.32747
| sample solution S2 | 13159413 | 4230621 | 0.32149 | 0.32261 | /
| sample solution S2 | 13124939 | 4249034 | 0.32374
Curve by plotting the average PBO to internal standard peak area ratios versus the mass of PBO in the caliration solutions.
| average PBO to octadecane peak area ratio in the sample1 |  | 0.32664
| average PBO to octadecane peak area ratio in the sample2 |  | 0.32261
| slope of calebration curve |  | 18.9313
| intercept of calibration curve |  | -0.00024848
| purty of the PBO standard(g/kg) |  | 989
| content of PBO(g/kg) in sample1 |  | 34.1338
| content of PBO(g/kg) in sample2 |  | 33.6058

## Summary
Chlorpyrifos Content Summary Sheet
| sample | PBO(g/kg)
Day 1 | subsample-1 | 36.244
| subsample-2 | 34.0266
Day 2 | subsample-1 | 34.1338
| subsample-2 | 33.6058
| average | 34.5025
| RSD(%) | 3.429